## River Water
[8 empty] | 2014002896 | 2014003020 | 2014003170 | 2014003315 | 2014002895 | 2014003022 | 2014003171 | 2014003316 | 2014002898 | 2014003319 | 2014002897 | 2014003021 | 2014003172 | 2014003317 | 2014002899 | 2014003023 | 2014003173 | 2014003318 | 2014002901 | 2014002900 | 2014002903 | 2014002917 | 2014002969 | 2014003025 | 2014003024 | 2014003030 | 2014003036 | 2014003041 | 2014003063 | 2014003130 | 2014003132 | 2014003174 | 2014003176 | 2014003180 | 2014003182 | 2014003305 | 2014003204 | 2014003251 | 2014003311 | 2014002902 | 2014003035 | 2014003133 | 2014003312 | 2014003028 | 2014003033 | 2014003134 | 2014003313 | 2014003178 | 2014003314 | 2014003307
1 | [7 empty] | 729 | 729 | 729 | 729 | 733.1 | 733.1 | 733.1 | 733.1 | Secondary Ash Basin | Ash Basin discharge | 705 | 705 | 705 | 705 | Berry Hill Bridge | Berry Hill Bridge | Berry Hill Bridge | Berry Hill Bridge | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | HW 58 Bridge | HW 58 Bridge | HW 58 Bridge | HW 58 Bridge | South Boston WT Intake | HW 360 Bridge | HW 360 Bridge | HW 360 Bridge | Ramble Road | Ramble Rd | Clarksville Raw
2 |  | Location
3 |  | Date | [5 empty] | 2014-02-03 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-03 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-03 | 2014-02-06 | 2014-02-03 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-03 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-03 | 2014-02-03 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-03 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-04 | 2014-02-04 | 2014-02-05 | 2014-02-06 | 2014-02-05 | 2014-02-06 | 2014-02-06
4 |  | Time |  |  |  |  | Analysis Units | 12:50 | 11:30 | 12:45 | 13:25 | 13:25 | 12:25 | 13:22 | 14:47 | 13:48 | 14:27 | 12:12 | 13:22 | 11:50 | 12:21 | 15:30 | 14:10 | 11:19 | 11:50 | 16:40 | 22:30 | 02:30 | 06:30 | 09:38 | 14:28 | 14:47 | 18:21 | 22:10 | 2:09 | 6:27 | 10:22 | 10:22 | 14:30 | 18:38 | 22:14 | 2:25 | 14:51 | 6:25 | 10:37 | 11:07 | 16:50 | 18:11 | 9:47 | 8:37 | 17:20 | 16:31 | 9:10 | 10:09 | 17:35 | 9:36 | 12:58 | Method
5 |  | J Number | Drinking Water Quality Standards |  |  |  |  | J14020025 | J14020060 | J14020091 | J14020133 | J14020025 | J14020060 | J14020091 | J14020133 | J14020025 | J14020133 | J14020025 | J14020060 | J14020091 | J14020133 | J14020026 | J14020060 | J14020091 | J14020133 | J14020026 | J14020027 | J140020028 | J14020034 | J14020046 | J14020061 | J14020060 | J14020062 | J14020065 | J14020068 | J14020071 | J14020080 | J14020081 | J14020092 | J14020093 | J14020096 | J14020097 | J14020131 | J14020104 | J14020116 | J14020132 | J14020026 | J14020063 | J14020081 | J14020132 | J14020062 | J14020063 | J14020081 | J14020132 | J14020094 | J14020132 | J14020131
6 |  | Location | [5 empty] | 36.491389, -79.751012 | 36.491389, -79.751012 | 36.491389, -79.751012 | 36.491389, -79.751012 | 36.485979, -79.718897 | 36.485979, -79.718897 | 36.485979, -79.718897 | 36.485979, -79.718897 | 36.492071, -79.711608 | 36.48842, -79.713928 | 36.498462, -79.680754 | 36.498462, -79.680754 | 36.498462, -79.680754 | 36.498462, -79.680754 | 36.541760, -79.605019 | 36.541760, -79.605019 | 36.541760, -79.605019 | 36.541760, -79.605019 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.582603, -79.157430 | 36.582603, -79.157430 | 36.582603, -79.157430 | 36.582603, -79.157430 | 36.691783, -78.903928 | 36.694971, -78.887745 | 36.694971, -78.887745 | 36.694971, -78.887745 | 36.693758, -78.752747 | 36.693758, -78.752747 | 36.626763° ,-78.555015°
7 |  | insitu | Primary |  | Secondary
8 |  | Temperature |  |  |  |  | degrees C | 5.78 | 5.78 |  |  | 4.1 | 4.76 |  |  | 5.33 |  | 3.11 | 4.31 |  |  | 3.69 | 4.74 |  |  | 3.45 | [5 empty] | 4.28 | [14 empty] | 3.5 | 4.28 |  |  |  | 4.66 | [5 empty] | Hydrolab
9 |  | Dissolved Oxygen |  |  |  |  | mg/L | 11.75 | 11.96 |  |  | 12.43 | 12.38 |  |  | 12.47 |  | 12.65 | 12.23 |  |  | 12.45 | 12.11 |  |  | 12.52 | [5 empty] | 12.17 | [14 empty] | 13.2 | 12.35 |  |  |  | 12.05 | [5 empty] | Hydrolab
10 |  | Dissolved Oxygen Saturation |  |  |  |  | % Saturation | 96.4 | 98.2 |  |  | 97.7 | 99 |  |  | 101.3 |  | 96.8 | 96.7 |  |  | 96.8 | 96.8 |  |  | 96.7 | [5 empty] | 96.1 | [14 empty] | 100.3 | 97.5 |  |  |  | 9.61 | [5 empty] | Hydrolab
11 |  | Specific Conductance |  |  |  |  | µS/cm | 86 | 83 |  |  | 104 | 95 |  |  | 246 |  | 87 | 89 |  |  | 90 | 94 |  |  | 94 | [5 empty] | 97 | [14 empty] | 129 | 104 |  |  |  | 129 | [5 empty] | Hydrolab
12 |  | pH | 6.5 - 8.5 |  |  |  |  | 7.42 | 7.34 |  |  | 7.43 | 7.17 |  |  | 7.93 |  | 7.18 | 7.12 |  |  | 7.36 | 7.28 |  |  | 7.54 | [5 empty] | 7.06 | [14 empty] | 7.7 | 7.35 |  |  |  | 7.39 | [5 empty] | Hydrolab
13 |  | Turbidity |  |  |  |  | NTU | 16.1 | 29.8 |  |  | 24.9 | 41.2 |  |  | 3.9 |  | 174 | 148 |  |  | 676 | 235.8 |  |  | 200 | [5 empty] | 387.5 | [14 empty] | 17.8 | 206.8 |  |  |  | 225.6 | [5 empty] | Hydrolab
14 | Filtered Results | Dissolved metals by ICP-MS
15 |  | Arsenic | 10 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | 3.38 |  | 2.73 | < 1 | < 1 |  | 3.43 | < 1 | < 1 |  | 1.33 |  |  |  | 3.43 | 2.16 | 2.06 | < 2 | < 1 | < 1 | <1 | 1.02 | 1.02 | 1.11 | < 1 | 1.01 | < 1 |  | < 1 | < 1 |  | < 1 | < 1 | 1.37 |  | < 2 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
16 |  | Cadmium | 5 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | < 2 |  | < 1 | < 1 | < 1 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | <1 | < 1 | < 1 | < 2 | < 1 | < 1 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 | < 1 |  | < 1 | < 1 | <1 |  | < 2 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
17 |  | Chromium | 100 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | < 2 |  | < 1 | < 1 | < 1 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | <1 | < 1 | < 1 | < 2 | < 1 | < 1 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 | < 1 |  | < 1 | < 1 | <1 |  | < 2 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
18 |  | Copper | 1300 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | 1.01 | < 1 | < 1 |  | 2.06 |  | < 1 | < 1 | < 1 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | <1 | < 1 | < 1 | < 2 | < 1 | < 1 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 | < 1 |  | < 1 | 1.18 | 1.67 |  | < 2 | < 1 | 5.51 |  | < 1 |  |  | EPA 200.8
19 |  | Lead | 15 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | < 2 |  | < 1 | < 1 | < 1 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | <1 | < 1 | < 1 | < 2 | < 1 | < 1 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 | < 1 |  | < 1 | < 1 | <1 |  | < 2 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
20 |  | Selenium | 50 | ppb |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | 6.39 |  | < 1 | < 1 | < 1 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | <1 | < 1 | < 1 | < 2 | < 1 | 1.04 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 | < 1 |  | < 1 | 1.35 | <1 |  | < 2 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
21 |  | Zinc | No standard |  | 5 | ppm | ppb | 1.37 | 2.61 | 1.72 |  | 2.67 | < 1 | 1.27 |  | 5.93 |  | 1.04 | < 1 | 1.7 |  | < 2 | < 1 | < 1 |  | <1.0 |  |  |  | 1.08 | < 1 | < 1 | < 2 | < 1 | < 1 | <1 | <1 | <1 | 2.12 | < 1 | 1.05 | < 1 |  | < 1 | < 1 |  | 2.83 | 2.27 | 2.43 |  | < 2 | 1.11 | 8.04 |  | 1.19 |  |  | EPA 200.8
22 | Unfiltered Results | Total recoverable metals by ICP-MS
23 |  | Arsenic |  |  |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | 5.79 |  | 6.78 | 3.11 | < 1 |  | 35.3 | 8.11 | 1.97 |  | 9.93 | 19.4 | 16 | 19.1 | 25.5 | 19.8 | 18.5 | 12 | 9.42 | 10.6 | 7.52 | 6.78 | 6.4 | 6.02 | 5.51 | 4.91 | 2.61 |  | 2.12 |  |  | < 1 | 11.7 | 11.1 |  | 10.5 | 11.1 | 9.43 |  | 8.31 |  |  | EPA 200.8
24 |  | Cadmium |  |  |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | < 5 |  | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | < 1 | <1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | <1 | <1 | <1 | <1 | <1 | < 1 | < 1 | < 1 | < 1 |  | < 1 |  |  | < 1 | < 1 | <1 |  | < 1 | < 1 | <1 |  | < 1 |  |  | EPA 200.8
25 |  | Chromium |  |  |  |  | ppb | < 1 | 1.75 | 2.29 |  | 1.32 | 1.63 | 1.96 |  | < 5 |  | 2.65 | 2.51 | 2.08 |  | 10.5 | 3.89 | 2.37 |  | 3.7 | 6.13 | 5.97 | 6.56 | 8.89 | 7.32 | 6.22 | 4.53 | 3.74 | 5.1 | 3.34 | 3.21 | 3.07 | 2.88 | 2.95 | 3.17 | 2.3 |  | 2.07 |  |  | 1.47 | 5.15 | 5.18 |  | 5.14 | 5.17 | 5.84 |  | 4.54 |  |  | EPA 200.8
26 |  | Copper |  |  |  |  | ppb | 1.09 | 1.76 | 2.31 |  | 1.9 | 1.69 | 1.9 |  | < 5 |  | 6.95 | 4.7 | 2.4 |  | 34.3 | 9.34 | 3.31 |  | 11.1 | 19.9 | 18.2 | 20.5 | 27.9 | 22.1 | 18.9 | 13.7 | 10.9 | 16.1 | 8.59 | 7.84 | 7.66 | 6.1 | 6.13 | 6.02 | 3.55 |  | 3.36 |  |  | 1.4 | 14.5 | 14.2 |  | 12.3 | 13.1 | 17.5 |  | 9.23 |  |  | EPA 200.8
27 |  | Lead |  |  |  |  | ppb | < 1 | 1.04 | < 1 |  | 1.2 | < 1 | < 1 |  | < 5 |  | 3.05 | 2.36 | 1 |  | 15.6 | 4.44 | 1.58 |  | 6.02 | 9.74 | 9.69 | 10.5 | 14.1 | 10.7 | 9.72 | 6.9 | 5.26 | 8.04 | 4.05 | 3.71 | 3.71 | 3.22 | 3.35 | 3.28 | 2.01 |  | 1.6 |  |  | < 1 | 7.07 | 6.18 |  | 7.96 | 8.38 | 6.15 |  | 5.43 |  |  | EPA 200.8
28 |  | Selenium |  |  |  |  | ppb | < 1 | < 1 | < 1 |  | < 1 | < 1 | < 1 |  | 6.23 |  | 1.27 | 1.2 | < 1 |  | 5.22 | 2.26 | < 1 |  | 1.82 | 2.3 | 2.67 | 3.32 | 3.67 | 2.93 | 3.27 | 4.06 | 1.49 | 1.16 | <1 | 1.55 | 2.77 | < 1 | 1 | 1.14 | < 1 |  | < 1 |  |  | < 1 | 4.47 | 2.17 |  | 2.36 | 3.33 | 1.85 |  | 1.66 |  |  | EPA 200.8
29 |  | Zinc |  |  |  |  | ppb | 5.06 | 5.02 | 7.6 |  | 7.33 | 5.07 | 5.72 |  | 9.15 |  | 7.04 | 6.2 | 6.73 |  | 23.4 | 9.38 | 6.24 |  | 10.4 | 14.4 | 14.5 | 14.7 | 19 | 17.3 | 15.4 | 11.7 | 10.1 | 13.5 | 8.82 | 7.86 | 8.02 | 7.42 | 6.95 | 7.63 | 6.15 |  | 5.32 |  |  | 13.4 | 18.3 | 17.1 |  | 15.5 | 17.1 | 28.4 |  | 9.42 |  |  | EPA 200.8
30 | Inorganic Ions by IC
31 |  | Mercury | 2 | ppb |  |  | ppb |  | < 0.05 | < 0.05 |  |  | < 0.05 | < 0.05 |  |  |  |  | < 0.05 | < 0.05 |  |  | < 0.05 | < 0.05 | [6 empty] | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 |  | < 0.05 | < 0.05 |  |  | < 0.05 | < 0.05 |  | < 0.05 | < 0.05 | < 0.05 |  | < 0.05 |  |  | EPA 245.1
32 |  | Total Dissolved Solids |  |  | 500 | ppm |  | 69 | 67 | 82 |  | 81 | 81 |  |  |  |  | 72 | 72 | 85 |  | 77 | 80 | 86 |  | 78 | [5 empty] | 82 | [5 empty] | 76 | [8 empty] | 90 | 92 | 86 |  |  | 100 | 87 |  | 100 |  |  | SM2540C
33 |  | Bromide | No standard |  |  |  | ppm | <0.1 | < 0.1 | < 0.1 |  | < 0.1 | < 0.1 | < 0.1 |  | <0.1 |  | < 0.1 | < 0.1 | < 0.1 |  | <0.1 | < 0.1 | < 0.1 |  | <0.1 | [5 empty] | < 0.1 | [5 empty] | < 0.1 | [8 empty] | 0.14 | 0.12 | < 0.1 |  |  | 0.14 | 0.16 |  |  |  |  | EPA 300.0
34 |  | Chloride | No standard |  | 250 | ppm | ppm | 7.6 | 7.8 | 7.2 |  | 14 | 11 | 9.8 |  | 8.6 |  | 9.9 | 11 | 9.5 |  | 10 | 11 | 9.1 |  | 11 | [5 empty] | 12 | [5 empty] | 11 | [8 empty] | 16 | 13 | 13 |  |  | 20 | 14 |  |  |  |  | EPA 300.0
35 |  | Sulfate |  |  | 250 | ppm | ppm | 4.6 | 4.5 | 5.3 |  | 5.8 | 5.5 | 5.5 |  | 73 |  | 5.1 | 5.1 | 5.1 |  | 5.5 | 5.3 | 5.1 |  | 5.7 | [5 empty] | 5.8 | [5 empty] | 5.4 | [8 empty] | 7.7 | 6.2 | 6.3 |  |  | 6.7 | 6.7 |  |  |  |  | EPA 300.0
36 | Filtered Results | Dissolved metals by ICP
37 |  | Aluminum | No standard |  | 0.05 - 0.2 | ppm | ppm | 0.125 | 1.16 | 0.346 | 0.177 | 0.1 | 0.206 | 0.314 | 0.325 | 0.047 | 0.379 | 0.162 | 0.197 | 0.282 | 0.353 | 0.203 | 0.231 | 0.191 | 0.421 | 0.106 |  |  |  | 0.215 | 0.223 | 0.264 | 0.217 | 0.16 | 0.331 | 0.356 | 0.267 | 0.306 | 0.337 | 0.342 | 0.393 | 0.395 |  | 0.416 | 0.373 | 0.359 | 0.214 | 0.216 | 0.27 | 0.379 | 0.39 | 0.232 | 0.227 | 0.375 | 0.213 | 0.317 |  | EPA 200.7
38 |  | Boron | No standard |  |  |  | ppm | < 0.05 | <0 .05 | < 0.05 | < 0.05 | 0.127 | 0.109 | 0.087 | 0.103 | 0.187 | 0.121 | 0.156 | 0.152 | 0.096 | 0.115 | 0.147 | 0.112 | 0.089 | 0.111 | 0.182 |  |  |  | 0.135 | 0.151 | 0.15 | 0.119 | 0.104 | 0.102 | 0.119 | 0.127 | 0.131 | 0.121 | 0.103 | 0.09 | 0.085 |  | 0.086 | 0.1 | 0.091 | 0.175 | 0.125 | 0.111 | 0.103 | 0.132 | 0.129 | 0.124 | 0.089 | 0.119 | 0.093 |  | EPA 200.7
39 |  | Calcium |  |  |  |  | ppm | 6.15 | 6.12 | 6.11 | 5.72 | 7.72 | 7.39 | 6.79 | 6.92 | 25.9 | 6.87 | 7.81 | 7.54 | 6.64 | 6.83 | 7.86 | 7.41 | 6.64 | 6.86 | 8.54 |  |  |  | 7.88 | 8.14 | 8.12 | 7.59 | 7.26 | 7.12 | 7.18 | 7.11 | 7.11 | 7.16 | 7.1 | 6.84 | 6.68 |  | 6.65 | 6.81 | 6.51 | 8.84 | 7.71 | 7.61 | 7.23 | 8.41 | 8.19 | 7.71 | 7.17 | 7.96 | 7.45 |  | EPA 200.7
40 |  | Iron |  |  |  |  | ppm | 0.201 | 0.994 | 0.385 | 0.255 | 0.176 | 0.255 | 0.334 | 0.354 | 0.093 | 0.392 | 0.215 | 0.248 | 0.306 | 0.382 | 0.228 | 0.268 | 0.237 | 0.431 | 0.167 |  |  |  | 0.246 | 0.261 | 0.284 | 0.262 | 0.227 | 0.338 | 0.36 | 0.297 | 0.323 | 0.352 | 0.358 | 0.398 | 0.399 |  | 0.41 | 0.388 | 0.362 | 0.303 | 0.272 | 0.315 | 0.413 | 0.352 | 0.24 | 0.274 | 0.391 | 0.273 | 0.354 |  | EPA 200.7
41 |  | Magnesium |  |  |  |  | ppm | 2.51 | 2.52 | 2.51 | 2.44 | 2.73 | 2.67 | 2.54 | 2.61 | 6.49 | 2.53 | 2.66 | 2.62 | 2.43 | 2.53 | 2.69 | 2.6 | 2.45 | 2.57 | 2.91 |  |  |  | 2.73 | 2.79 | 2.78 | 2.63 | 2.61 | 2.51 | 2.63 | 2.57 | 2.58 | 2.55 | 2.57 | 2.52 | 2.49 |  | 2.49 | 2.53 | 2.44 | 3.15 | 2.68 | 2.79 | 2.73 | 2.93 | 2.88 | 2.81 | 2.74 | 2.97 | 2.83 |  | EPA 200.7
42 |  | Manganese |  |  |  |  | ppm | 0.025 | 0.037 | 0.017 | 0.015 | 0.036 | 0.02 | 0.017 | 0.016 | 0.019 | 0.013 | 0.035 | 0.017 | 0.013 | 0.013 | 0.02 | 0.011 | 0.009 | 0.01 | 0.024 |  |  |  | 0.018 | 0.014 | 0.014 | 0.012 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.011 | 0.012 | 0.013 | 0.013 |  | 0.013 | 0.012 | 0.012 | 0.02 | 0.014 | 0.012 | 0.013 | 0.017 | 0.01 | 0.01 | 0.009 | 0.011 | 0.01 |  | EPA 200.7
43 |  | Potassium |  |  |  |  | ppm | 1.61 | 1.59 | 1.67 | 1.44 | 1.56 | 1.56 | 1.61 | 1.58 | 5.08 | 1.5 | 1.43 | 1.47 | 1.57 | 1.54 | 1.42 | 1.54 | 1.53 | 1.57 | 1.51 |  |  |  | 1.5 | 1.58 | 1.57 | 1.55 | 1.5 | 1.49 | 1.45 | 1.39 | 1.38 | 1.45 | 1.52 | 1.56 | 1.54 |  | 1.54 | 1.55 | 1.46 | 1.72 | 1.63 | 1.68 | 1.64 | 1.86 | 1.79 | 1.91 | 1.65 | 1.74 | 1.7 |  | EPA 200.7
44 |  | Sodium |  |  |  |  | ppm | 6.8 | 6.4 | 5.82 | 4.58 | 7.88 | 6.8 | 6.13 | 5.87 | 9.81 | 4.81 | 5.92 | 5.51 | 5.98 | 5.4 | 5.23 | 6.73 | 5.79 | 5.49 | 5.28 |  |  |  | 6.19 | 6.3 | 6.22 | 5.81 | 5.81 | 6.38 | 6.27 | 5.45 | 5.44 | 5.57 | 6.28 | 6.3 | 6.03 |  | 5.77 | 5.64 | 5.46 | 8.67 | 7.77 | 8.12 | 7.74 | 11.8 | 11.4 | 8.55 | 8.27 | 8.38 | 8.15 |  | EPA 200.7
45 | Unfiltered Results | Total recoverable metals by ICP
46 |  | Aluminum |  |  |  |  | ppm | 0.615 | 1.36 | 1.67 |  | 0.995 | 1.59 | 1.92 |  | 0.26 |  | 2.61 | 3.01 | 2.21 |  | 12.6 | 4.65 | 2.87 |  | 4.03 | 7.06 | 6.69 | 8 | 11 | 7.2 | 8.26 | 5.66 | 4.42 | 5.43 | 3.9 | 3.78 | 3.4 | 3.85 | 4.1 | 3.8 | 2.49 |  | 2.4 | 2.46 |  | 1.26 | 4.92 | 5.41 |  | 6 | 5.79 | 4.77 |  | 5.08 |  |  | EPA 200.7
47 |  | Boron |  |  |  |  | ppm | < 0.05 | < 0.05 | < 0.05 |  | 0.133 | 0.111 | 0.089 |  | 0.195 |  | 0.172 | 0.157 | 0.099 |  | 0.171 | 0.118 | 0.094 |  | 0.192 | 0.169 | 0.167 | 0.149 | 0.157 | 0.163 | 0.159 | 0.135 | 0.112 | 0.116 | 0.131 | 0.138 | 0.14 | 0.129 | 0.108 | 0.098 | 0.093 |  | 0.094 | 0.096 |  | 0.184 | 0.14 | 0.119 |  | 0.142 | 0.14 | 0.133 |  | 0.122 |  |  | EPA 200.7
48 |  | Calcium |  |  |  |  | ppm | 6.18 | 6.24 | 6.04 |  | 7.8 | 7.42 | 6.81 |  | 25.6 |  | 8.18 | 7.82 | 6.56 |  | 10.3 | 7.88 | 6.77 |  | 8.87 | 9.21 | 9.02 | 8.79 | 9.64 | 9.14 | 9.09 | 8.3 | 7.72 | 8.03 | 7.94 | 7.7 | 7.71 | 7.53 | 7.42 | 7.23 | 6.92 |  | 6.85 | 6.8 |  | 8.85 | 8.48 | 8.26 |  | 8.69 | 8.82 | 8.43 |  | 8.24 |  |  | EPA 200.7
49 |  | Iron |  |  |  |  | ppm | 0.91 | 1.83 | 1.72 |  | 1.21 | 1.95 | 1.83 |  | 0.468 |  | 2 | 2.43 | 1.97 |  | 7.06 | 3.52 | 2.43 |  | 2.29 | 3.6 | 3.59 | 4.21 | 5.67 | 3.73 | 4.34 | 3.04 | 2.53 | 2.94 | 2.55 | 2.41 | 2.27 | 2.35 | 2.59 | 2.43 | 2.05 |  | 1.85 | 1.83 |  | 1.3 | 3.15 | 3.34 |  | 3.62 | 3.98 | 3.2 |  | 3 |  |  | EPA 200.7
50 |  | Magnesium |  |  |  |  | ppm | 2.57 | 2.63 | 2.55 |  | 2.84 | 2.77 | 2.63 |  | 6.55 |  | 2.87 | 2.84 | 2.51 |  | 3.89 | 2.96 | 2.64 |  | 3.16 | 3.33 | 3.34 | 3.32 | 3.72 | 3.34 | 3.39 | 3.09 | 3 | 3.17 | 3.06 | 2.92 | 2.92 | 2.86 | 2.84 | 2.8 | 2.66 |  | 2.65 | 2.62 |  | 3.19 | 3.14 | 3.23 |  | 3.32 | 3.4 | 3.23 |  | 3.22 |  |  | EPA 200.7
51 |  | Manganese |  |  |  |  | ppm | 0.037 | 0.049 | 0.036 |  | 0.056 | 0.052 | 0.038 |  | 0.037 |  | 0.044 | 0.046 | 0.037 |  | 0.092 | 0.056 | 0.041 |  | 0.044 | 0.062 | 0.054 | 0.058 | 0.072 | 0.052 | 0.054 | 0.04 | 0.036 | 0.042 | 0.037 | 0.034 | 0.033 | 0.033 | 0.036 | 0.035 | 0.032 |  | 0.03 | 0.028 |  | 0.041 | 0.059 | 0.057 |  | 0.066 | 0.071 | 0.066 |  | 0.059 |  |  | EPA 200.7
52 |  | Potassium |  |  |  |  | ppm | 1.68 | 1.64 | 1.7 |  | 1.66 | 1.65 | 1.69 |  | 5.11 |  | 1.82 | 1.84 | 1.67 |  | 3.8 | 2.24 | 1.79 |  | 2.21 | 2.82 | 2.7 | 2.88 | 3.61 | 2.82 | 3.05 | 2.54 | 2.22 | 2.45 | 2.09 | 2 | 1.92 | 1.99 | 2.06 | 2.05 | 1.82 |  | 1.78 | 1.74 |  | 1.8 | 2.48 | 2.57 |  | 2.7 | 2.74 | 2.68 |  | 2.4 |  |  | EPA 200.7
53 |  | Sodium |  |  |  |  | ppm | 6.82 | 6.48 | 5.75 |  | 7.91 | 6.82 | 6.08 |  | 9.88 |  | 4.83 | 5.58 | 5.79 |  | 5.77 | 6.78 | 5.78 |  | 5.25 | 5.65 | 5.5 | 5.43 | 6.72 | 6.45 | 6.34 | 5.96 | 5.86 | 6.76 | 6.55 | 5.71 | 5.72 | 5.67 | 6.31 | 6.41 | 6.08 |  | 5.76 | 5.54 |  | 8.58 | 8.05 | 8.25 |  | 11.4 | 11.6 | 8.82 |  | 8.14 |  |  | EPA 200.7
54 |  | Total dissolved solids |  |  |  |  | ppm | 69 | 67 | 82 |  | 81 | 81 |  |  |  |  | 72 | 72 | 85 |  | 77 | 80 | 86 |  | 78 | [5 empty] | 82 | [5 empty] | 76 | [8 empty] | 90 | 92 | 86 |  |  | 100 | 87 |  | 100 |  |  | SM2540C
55 |  | Total solids |  |  |  |  | ppm | 79 | 89 | 74 |  | 96 | 94 | 86 |  | 170 |  | 170 | 160 | 91 |  | 600 | 260 | 110 |  | 230 | [5 empty] | 360 | [5 empty] | 170 | [8 empty] | 110 | 250 | 250 |  |  | 270 | 230 |  | 240 |  |  | SM2540B
56 |  | Total Suspended Solids |  |  |  |  | ppm |  | 14 | 8 |  | 14 |  | 14 |  | < 5 |  |  |  | 23 |  | 510 |  | 45 |  | 150 | [11 empty] | 99 | [8 empty] | 21 | 160 | 170 |  |  | 160 | 140 |  | 160 |  |  | SM2540D
57 | Total Metals Filtered by Drinking Water System | ICP Undigested
58 |  | Aluminum (Al) |  |  |  |  | ppm | [50 empty] | EPA 200.7
59 |  | Boron (B) |  |  |  |  | ppm | [50 empty] | EPA 200.7
60 |  | Calcium (Ca) |  |  |  |  | ppm | [50 empty] | EPA 200.7
61 |  | Iron (Fe) |  |  |  |  | ppm | [50 empty] | EPA 200.7
62 |  | Magnesium (Mg) |  |  |  |  | ppm | [50 empty] | EPA 200.7
63 |  | Manganese (Mn) |  |  |  |  | ppm | [50 empty] | EPA 200.7
64 |  | Potassium (K) |  |  |  |  | ppm | [50 empty] | EPA 200.7
65 |  | Sodium (Na) |  |  |  |  | ppm | [50 empty] | EPA 200.7
66 | Toal Metals Filtered by Drinking Water System | IMS Undigested
67 |  | Arsenic (As) |  |  |  |  | ppb | [50 empty] | EPA 200.8
68 |  | Cadmium (Cd) |  |  |  |  | ppb | [50 empty] | EPA 200.8
69 |  | Chromium (Cr) |  |  |  |  | ppb | [50 empty] | EPA 200.8
70 |  | Copper (Cu) |  |  |  |  | ppb | [50 empty] | EPA 200.8
71 |  | Lead (Pb) |  |  |  |  | ppb | [50 empty] | EPA 200.8
72 |  | Selenium (Se) |  |  |  |  | ppb | [50 empty] | EPA 200.8
73 |  | Zinc (Zn) |  |  |  |  | ppb | [50 empty] | EPA 200.8

## Drinking Water
[8 empty] | 2014002901 | 2014002900 | 2014002903 | 2014002917 | 2014002969 | 2014002970 | 2014002971 | 2014003025 | 2014003026 | 2014003027 | 2014003024 | 2014003030 | 2014003031 | 2014003032 | 2014003036 | 2014003038 | 2014003037 | 2014003041 | 2014003043 | 2014003042 | 2014003063 | 2014003065 | 2014003064 | 2014003130 | 2014003132 | 2014003131 | 2014003174 | 2014003175 | 2014003176 | 2014003177 | 2014003180 | 2014003181 | 2014003182 | 2014003183 | 2014003204 | 2014003205 | 2014003251 | 2014003252 | 2014003305 | 2014003306 | 2014003307 | 2014003308 | 2014003028 | 2014003029
1 | [7 empty] | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant Between Storage Tanks | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Intake | Danville Water Plant Post Filter (pre Chlorination) | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Danville Water Intake | Danville Water Plant After Storage Tanks | Clarksville Raw | Clarksville Final | South Boston WT Intake | South Boston WT Treated Water | Henderson Raw | Henderson Final
2 |  | Location | [5 empty] | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville | Danville |  |  |  |  | Clarksville | Clarksville | South Boston | South Boston | Henderson | Henderson
3 |  | Date | [5 empty] | 2014-02-03 | 2014-02-03 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-04 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-05 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-06 | 2014-02-04 | 2010-02-04
4 |  | Time |  |  |  |  | Analysis Units | 16:40 | 22:30 | 02:30 | 06:30 | 09:38 | 09:58 | 10:00 | 14:28 | 14:36 | 14:39 | 14:47 | 18:21 | 18:29 | 18:32 | 22:10 | 22:22 | 22:25 | 2:09 | 2:23 | 2:25 | 6:27 | 6:18 | 6:20 | 10:22 | 10:22 | 10:15 | 14:30 | 14:20 | 18:38 | 18:30 | 22:14 | 22:25 | 2:25 | 2:15 | 6:25 | 6:15 | 10:37 | 10:22 | 14:51 | 14:34 | 12:58 | 13:03 | 17:20 | 17:10 |  |  | Method
5 |  | J Number | Drinking Water Quality Standards |  |  |  |  | J14020026 | J14020027 | J140020028 | J14020034 | J14020046 | J14020046 | J14020046 | J14020061 | J14020061 | J14020061 | J14020060 | J14020062 | J14020062 | J14020062 | J14020065 | J14020065 | J14020065 | J14020068 | J14020068 | J14020068 | J14020071 | J14020071 | J14020071 | J14020080 | J14020081 | J14020080 | J14020092 | J14020092 | J14020093 | J14020093 | J14020096 | J14020096 | J14020097 | J14020097 | J14020104 | J14020104 | J14020116 | J14020116 | J14020131 | J14020131 | J14020131 | J14020131 | J14020062 | J14020062
6 |  | Location | [5 empty] | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.573326, -79.419814 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.57592, -79.433865 | 36.571742, -79.425489 | 36.626763° ,-78.555015° | 36.626763° ,-78.555015° | 36.691783, -78.903928 | 36.698794, -78.909789
7 |  | insitu | Primary |  | Secondary
8 |  | Temperature |  |  |  |  | degrees C | 3.45 | [9 empty] | 4.28 | [35 empty] | Hydrolab
9 |  | Dissolved Oxygen |  |  |  |  | mg/L | 12.52 | [9 empty] | 12.17 | [35 empty] | Hydrolab
10 |  | Dissolved Oxygen Saturation |  |  |  |  | % Saturation | 96.7 | [9 empty] | 96.1 | [35 empty] | Hydrolab
11 |  | Specific Conductance |  |  |  |  | µS/cm | 94 | [9 empty] | 97 | [35 empty] | Hydrolab
12 |  | pH | 6.5 - 8.5 |  |  |  |  | 7.54 | [9 empty] | 7.06 | [35 empty] | Hydrolab
13 |  | Turbidity |  |  |  |  | NTU | 200 | [9 empty] | 387.5 | [35 empty] | Hydrolab
14 | Filtered Results | Dissolved metals by ICP-MS
15 |  | Arsenic | 10 | ppb |  |  | ppb | 1.33 |  |  |  | 3.43 |  |  | 2.16 |  |  | 2.06 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | 1.02 | 1.02 |  | 1.11 |  | < 1 |  | 1.01 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
16 |  | Cadmium | 5 | ppb |  |  | ppb | <1.0 |  |  |  | <1 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
17 |  | Chromium | 100 | ppb |  |  | ppb | <1.0 |  |  |  | <1 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
18 |  | Copper | 1300 | ppb |  |  | ppb | <1.0 |  |  |  | <1 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
19 |  | Lead | 15 | ppb |  |  | ppb | <1.0 |  |  |  | <1 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
20 |  | Selenium | 50 | ppb |  |  | ppb | <1.0 |  |  |  | <1 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | 1.04 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
21 |  | Zinc | No standard |  | 5 | ppm | ppb | <1.0 |  |  |  | 1.08 |  |  | < 1 |  |  | < 1 | < 2 |  |  | < 1 |  |  | < 1 |  |  | <1 |  |  | <1 | <1 |  | 2.12 |  | < 1 |  | 1.05 |  | < 1 |  | < 1 |  | < 1 | [5 empty] | < 2 |  |  |  | EPA 200.8
22 | Unfiltered Results | Total recoverable metals by ICP-MS
23 |  | Arsenic |  |  |  |  | ppb | 9.93 | 19.4 | 16 | 19.1 | 25.5 |  |  | 19.8 |  |  | 18.5 | 12 | < 1 | < 1 | 9.42 |  |  | 10.6 |  |  | 7.52 |  |  | 6.78 | 6.4 |  | 6.02 |  | 5.51 |  | 4.91 |  | 2.61 |  | 2.12 | [7 empty] | 10.5 | < 1 |  |  | EPA 200.8
24 |  | Cadmium |  |  |  |  | ppb | < 1 | <1 | < 1 | < 1 | < 1 |  |  | < 1 |  |  | < 1 | < 1 | < 1 | < 1 | <1 |  |  | <1 |  |  | <1 |  |  | <1 | <1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 |  | < 1 | [7 empty] | < 1 | < 1 |  |  | EPA 200.8
25 |  | Chromium |  |  |  |  | ppb | 3.7 | 6.13 | 5.97 | 6.56 | 8.89 |  |  | 7.32 |  |  | 6.22 | 4.53 | < 1 | < 1 | 3.74 |  |  | 5.1 |  |  | 3.34 |  |  | 3.21 | 3.07 |  | 2.88 |  | 2.95 |  | 3.17 |  | 2.3 |  | 2.07 | [7 empty] | 5.14 | < 1 |  |  | EPA 200.8
26 |  | Copper |  |  |  |  | ppb | 11.1 | 19.9 | 18.2 | 20.5 | 27.9 |  |  | 22.1 |  |  | 18.9 | 13.7 | 6.01 | 3.49 | 10.9 |  |  | 16.1 |  |  | 8.59 |  |  | 7.84 | 7.66 |  | 6.1 |  | 6.13 |  | 6.02 |  | 3.55 |  | 3.36 | [7 empty] | 12.3 | 1.16 |  |  | EPA 200.8
27 |  | Lead |  |  |  |  | ppb | 6.02 | 9.74 | 9.69 | 10.5 | 14.1 |  |  | 10.7 |  |  | 9.72 | 6.9 | < 1 | < 1 | 5.26 |  |  | 8.04 |  |  | 4.05 |  |  | 3.71 | 3.71 |  | 3.22 |  | 3.35 |  | 3.28 |  | 2.01 |  | 1.6 | [7 empty] | 7.96 | < 1 |  |  | EPA 200.8
28 |  | Selenium |  |  |  |  | ppb | 1.82 | 2.3 | 2.67 | 3.32 | 3.67 |  |  | 2.93 |  |  | 3.27 | 4.06 | 1.82 | 2.21 | 1.49 |  |  | 1.16 |  |  | <1 |  |  | 1.55 | 2.77 |  | < 1 |  | 1 |  | 1.14 |  | < 1 |  | < 1 | [7 empty] | 2.36 | 1.2 |  |  | EPA 200.8
29 |  | Zinc |  |  |  |  | ppb | 10.4 | 14.4 | 14.5 | 14.7 | 19 |  |  | 17.3 |  |  | 15.4 | 11.7 | 5.6 | 3.44 | 10.1 |  |  | 13.5 |  |  | 8.82 |  |  | 7.86 | 8.02 |  | 7.42 |  | 6.95 |  | 7.63 |  | 6.15 |  | 5.32 | [7 empty] | 15.5 | 29.1 |  |  | EPA 200.8
30 | Inorganic Ions by IC
31 |  | Mercury | 2 | ppb |  |  | ppb | [7 empty] | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 | < 0.05 |  |  |  |  | < 0.05 | < 0.05 |  |  | EPA 245.1
32 |  | Total Dissolved Solids |  |  | 500 | ppm |  | 78 | [9 empty] | 82 | [13 empty] | 76 | [21 empty] | SM2540C
33 |  | Bromide | No standard |  |  |  | ppm | <0.1 | [9 empty] | < 0.1 | [13 empty] | < 0.1 | [21 empty] | EPA 300.0
34 |  | Chloride | No standard |  | 250 | ppm | ppm | 11 | [9 empty] | 12 | [13 empty] | 11 | [21 empty] | EPA 300.0
35 |  | Sulfate |  |  | 250 | ppm | ppm | 5.7 | [9 empty] | 5.8 | [13 empty] | 5.4 | [21 empty] | EPA 300.0
36 | Filtered Results | Dissolved metals by ICP
37 |  | Aluminum | No standard |  | 0.05 - 0.2 | ppm | ppm | 0.106 |  |  |  | 0.215 |  |  | 0.223 |  |  | 0.264 | 0.217 |  |  | 0.16 |  |  | 0.331 |  |  | 0.356 |  |  | 0.267 | 0.306 |  | 0.337 |  | 0.342 |  | 0.393 |  | 0.395 |  | 0.416 |  | 0.373 | [5 empty] | 0.39 |  |  |  | EPA 200.7
38 |  | Boron | No standard |  |  |  | ppm | 0.182 |  |  |  | 0.135 |  |  | 0.151 |  |  | 0.15 | 0.119 |  |  | 0.104 |  |  | 0.102 |  |  | 0.119 |  |  | 0.127 | 0.131 |  | 0.121 |  | 0.103 |  | 0.09 |  | 0.085 |  | 0.086 |  | 0.1 | [5 empty] | 0.132 |  |  |  | EPA 200.7
39 |  | Calcium |  |  |  |  | ppm | 8.54 |  |  |  | 7.88 |  |  | 8.14 |  |  | 8.12 | 7.59 |  |  | 7.26 |  |  | 7.12 |  |  | 7.18 |  |  | 7.11 | 7.11 |  | 7.16 |  | 7.1 |  | 6.84 |  | 6.68 |  | 6.65 |  | 6.81 | [5 empty] | 8.41 |  |  |  | EPA 200.7
40 |  | Iron |  |  |  |  | ppm | 0.167 |  |  |  | 0.246 |  |  | 0.261 |  |  | 0.284 | 0.262 |  |  | 0.227 |  |  | 0.338 |  |  | 0.36 |  |  | 0.297 | 0.323 |  | 0.352 |  | 0.358 |  | 0.398 |  | 0.399 |  | 0.41 |  | 0.388 | [5 empty] | 0.352 |  |  |  | EPA 200.7
41 |  | Magnesium |  |  |  |  | ppm | 2.91 |  |  |  | 2.73 |  |  | 2.79 |  |  | 2.78 | 2.63 |  |  | 2.61 |  |  | 2.51 |  |  | 2.63 |  |  | 2.57 | 2.58 |  | 2.55 |  | 2.57 |  | 2.52 |  | 2.49 |  | 2.49 |  | 2.53 | [5 empty] | 2.93 |  |  |  | EPA 200.7
42 |  | Manganese |  |  |  |  | ppm | 0.024 |  |  |  | 0.018 |  |  | 0.014 |  |  | 0.014 | 0.012 |  |  | 0.01 |  |  | 0.01 |  |  | 0.01 |  |  | 0.01 | 0.01 |  | 0.011 |  | 0.012 |  | 0.013 |  | 0.013 |  | 0.013 |  | 0.012 | [5 empty] | 0.017 |  |  |  | EPA 200.7
43 |  | Potassium |  |  |  |  | ppm | 1.51 |  |  |  | 1.5 |  |  | 1.58 |  |  | 1.57 | 1.55 |  |  | 1.5 |  |  | 1.49 |  |  | 1.45 |  |  | 1.39 | 1.38 |  | 1.45 |  | 1.52 |  | 1.56 |  | 1.54 |  | 1.54 |  | 1.55 | [5 empty] | 1.86 |  |  |  | EPA 200.7
44 |  | Sodium |  |  |  |  | ppm | 5.28 |  |  |  | 6.19 |  |  | 6.3 |  |  | 6.22 | 5.81 |  |  | 5.81 |  |  | 6.38 |  |  | 6.27 |  |  | 5.45 | 5.44 |  | 5.57 |  | 6.28 |  | 6.3 |  | 6.03 |  | 5.77 |  | 5.64 | [5 empty] | 11.8 |  |  |  | EPA 200.7
45 | Unfiltered Results | Total recoverable metals by ICP
46 |  | Aluminum |  |  |  |  | ppm | 4.03 | 7.06 | 6.69 | 8 | 11 |  |  | 7.2 |  |  | 8.26 | 5.66 | 0.026 | 0.027 | 4.42 |  |  | 5.43 |  |  | 3.9 |  |  | 3.78 | 3.4 |  | 3.85 |  | 4.1 |  | 3.8 |  | 2.49 |  | 2.4 |  | 2.46 | [5 empty] | 6 | 0.04 |  |  | EPA 200.7
47 |  | Boron |  |  |  |  | ppm | 0.192 | 0.169 | 0.167 | 0.149 | 0.157 |  |  | 0.163 |  |  | 0.159 | 0.135 | 0.175 | 0.178 | 0.112 |  |  | 0.116 |  |  | 0.131 |  |  | 0.138 | 0.14 |  | 0.129 |  | 0.108 |  | 0.098 |  | 0.093 |  | 0.094 |  | 0.096 | [5 empty] | 0.142 | 0.141 |  |  | EPA 200.7
48 |  | Calcium |  |  |  |  | ppm | 8.87 | 9.21 | 9.02 | 8.79 | 9.64 |  |  | 9.14 |  |  | 9.09 | 8.3 | 11.5 | 11.6 | 7.72 |  |  | 8.03 |  |  | 7.94 |  |  | 7.7 | 7.71 |  | 7.53 |  | 7.42 |  | 7.23 |  | 6.92 |  | 6.85 |  | 6.8 | [5 empty] | 8.69 | 8.32 |  |  | EPA 200.7
49 |  | Iron |  |  |  |  | ppm | 2.29 | 3.6 | 3.59 | 4.21 | 5.67 |  |  | 3.73 |  |  | 4.34 | 3.04 | < 0.01 | < 0.01 | 2.53 |  |  | 2.94 |  |  | 2.55 |  |  | 2.41 | 2.27 |  | 2.35 |  | 2.59 |  | 2.43 |  | 2.05 |  | 1.85 |  | 1.83 | [5 empty] | 3.62 | < 0.01 |  |  | EPA 200.7
50 |  | Magnesium |  |  |  |  | ppm | 3.16 | 3.33 | 3.34 | 3.32 | 3.72 |  |  | 3.34 |  |  | 3.39 | 3.09 | 2.86 | 2.94 | 3 |  |  | 3.17 |  |  | 3.06 |  |  | 2.92 | 2.92 |  | 2.86 |  | 2.84 |  | 2.8 |  | 2.66 |  | 2.65 |  | 2.62 | [5 empty] | 3.32 | 2.95 |  |  | EPA 200.7
51 |  | Manganese |  |  |  |  | ppm | 0.044 | 0.062 | 0.054 | 0.058 | 0.072 |  |  | 0.052 |  |  | 0.054 | 0.04 | < 0.005 | < 0.005 | 0.036 |  |  | 0.042 |  |  | 0.037 |  |  | 0.034 | 0.033 |  | 0.033 |  | 0.036 |  | 0.035 |  | 0.032 |  | 0.03 |  | 0.028 | [5 empty] | 0.066 | < 0.005 |  |  | EPA 200.7
52 |  | Potassium |  |  |  |  | ppm | 2.21 | 2.82 | 2.7 | 2.88 | 3.61 |  |  | 2.82 |  |  | 3.05 | 2.54 | 1.54 | 1.54 | 2.22 |  |  | 2.45 |  |  | 2.09 |  |  | 2 | 1.92 |  | 1.99 |  | 2.06 |  | 2.05 |  | 1.82 |  | 1.78 |  | 1.74 | [5 empty] | 2.7 | 1.77 |  |  | EPA 200.7
53 |  | Sodium |  |  |  |  | ppm | 5.25 | 5.65 | 5.5 | 5.43 | 6.72 |  |  | 6.45 |  |  | 6.34 | 5.96 | 5.24 | 5.21 | 5.86 |  |  | 6.76 |  |  | 6.55 |  |  | 5.71 | 5.72 |  | 5.67 |  | 6.31 |  | 6.41 |  | 6.08 |  | 5.76 |  | 5.54 | [5 empty] | 11.4 | 34.1 |  |  | EPA 200.7
54 |  | Total dissolved solids |  |  |  |  | ppm | 78 | [9 empty] | 82 | [13 empty] | 76 | [21 empty] | SM2540C
55 |  | Total solids |  |  |  |  | ppm | 230 | [9 empty] | 360 | [13 empty] | 170 | [21 empty] | SM2540B
56 |  | Total Suspended Solids |  |  |  |  | ppm | 150 | [23 empty] | 99 |  |  | < 5 | [18 empty] | SM2540D
57 | Total Metals Filtered by Drinking Water System | ICP Undigested
58 |  | Aluminum (Al) |  |  |  |  | ppm | [5 empty] | 0.025 | 0.028 |  | 0.023 | 0.028 |  |  | 0.026 | 0.027 |  | 0.022 | 0.023 |  | 0.021 | 0.025 |  | 0.02 | 0.023 |  |  | 0.012 |  | 0.027 |  | 0.034 |  | 0.031 |  | 0.025 |  | 0.031 |  | 0.026 | [5 empty] | 0.04 |  |  | EPA 200.7
59 |  | Boron (B) |  |  |  |  | ppm | [5 empty] | 0.176 | 0.176 |  | 0.176 | 0.175 |  |  | 0.175 | 0.178 |  | 0.166 | 0.172 |  | 0.167 | 0.169 |  | 0.155 | 0.164 |  |  | 0.112 |  | 0.159 |  | 0.154 |  | 0.152 |  | 0.15 |  | 0.144 |  | 0.141 | [5 empty] | 0.141 |  |  | EPA 200.7
60 |  | Calcium (Ca) |  |  |  |  | ppm | [5 empty] | 11.6 | 11.6 |  | 11.8 | 11.8 |  |  | 11.5 | 11.6 |  | 11.3 | 11.4 |  | 11.2 | 11.3 |  | 10.7 | 11 |  |  | 7.34 |  | 11.3 |  | 11.3 |  | 11 |  | 10.9 |  | 10.9 |  | 10.7 | [5 empty] | 8.32 |  |  | EPA 200.7
61 |  | Iron (Fe) |  |  |  |  | ppm | [5 empty] | < 0.01 | 0.014 |  | < 0.01 | < 0.01 |  |  | < 0.01 | < 0.01 |  | < 0.01 | < 0.01 |  | < 0.01 | < 0.01 |  | < 0.01 | 0.016 |  |  | < 0.01 |  | 0.027 |  | < 0.01 |  | 0.013 |  | 0.018 |  | < 0.01 |  | 0.012 | [5 empty] | < 0.01 |  |  | EPA 200.7
62 |  | Magnesium (Mg) |  |  |  |  | ppm | [5 empty] | 2.91 | 2.99 |  | 2.92 | 2.97 |  |  | 2.86 | 2.94 |  | 2.8 | 2.88 |  | 2.8 | 2.84 |  | 2.8 | 2.9 |  |  | 2.63 |  | 2.93 |  | 2.93 |  | 2.91 |  | 2.89 |  | 2.89 |  | 2.82 | [5 empty] | 2.95 |  |  | EPA 200.7
63 |  | Manganese (Mn) |  |  |  |  | ppm | [5 empty] | < 0.005 | 0.005 |  | < 0.005 | 0.005 |  |  | < 0.005 | < 0.005 |  | < 0.005 | < 0.005 |  | < 0.005 | < 0.005 |  | < 0.005 | < 0.005 |  |  | 0.006 |  | < 0.005 |  | < 0.005 |  | < 0.005 |  | < 0.005 |  | < 0.005 |  | < 0.005 | [5 empty] | < 0.005 |  |  | EPA 200.7
64 |  | Potassium (K) |  |  |  |  | ppm | [5 empty] | 1.55 | 1.58 |  | 1.59 | 1.59 |  |  | 1.54 | 1.54 |  | 1.51 | 1.52 |  | 1.48 | 1.52 |  | 1.48 | 1.49 |  |  | 1.55 |  | 1.58 |  | 1.6 |  | 1.57 |  | 1.58 |  | 1.6 |  | 1.57 | [5 empty] | 1.77 |  |  | EPA 200.7
65 |  | Sodium (Na) |  |  |  |  | ppm | [5 empty] | 5.22 | 5.31 |  | 5.31 | 5.37 |  |  | 5.24 | 5.21 |  | 5.1 | 5.14 |  | 5.1 | 5.12 |  | 5.05 | 5.09 |  |  | 6.26 |  | 5.44 |  | 5.55 |  | 5.5 |  | 5.65 |  | 5.69 |  | 5.63 | [5 empty] | 34.1 |  |  | EPA 200.7
66 | Toal Metals Filtered by Drinking Water System | IMS Undigested
67 |  | Arsenic (As) |  |  |  |  | ppb | [5 empty] | < 1 | < 1 |  | <2 | <2 |  |  | < 1 | < 1 |  | < 2 | < 2 |  | < 2 | < 2 |  | <2 | <2 |  |  | <2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 | [5 empty] | < 1 |  |  | EPA 200.8
68 |  | Cadmium (Cd) |  |  |  |  | ppb | [5 empty] | < 1 | < 1 |  | <2 | <2 |  |  | < 1 | < 1 |  | < 2 | < 2 |  | < 2 | < 2 |  | <2 | <2 |  |  | <2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 | [5 empty] | < 1 |  |  | EPA 200.8
69 |  | Chromium (Cr) |  |  |  |  | ppb | [5 empty] | < 1 | < 1 |  | <2 | <2 |  |  | < 1 | < 1 |  | < 2 | < 2 |  | < 2 | < 2 |  | <2 | <2 |  |  | <2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 | [5 empty] | < 1 |  |  | EPA 200.8
70 |  | Copper (Cu) |  |  |  |  | ppb | [5 empty] | 2.92 | 7.97 |  | 4.3 | 4.33 |  |  | 6.01 | 3.49 |  | 4.12 | 6.3 |  | 4.68 | 4.56 |  | 5.1 | 6.34 |  |  | 3.1 |  | 92.3 |  | 34.5 |  | 20 |  | 3.81 |  | 5.16 |  | 22.2 | [5 empty] | 1.16 |  |  | EPA 200.8
71 |  | Lead (Pb) |  |  |  |  | ppb | [5 empty] | < 1 | < 1 |  | <2 | <2 |  |  | < 1 | < 1 |  | < 2 | < 2 |  | < 2 | < 2 |  | <2 | <2 |  |  | <2 |  | 10.9 |  | 9.07 |  | 4.9 |  | < 2 |  | < 2 |  | < 2 | [5 empty] | < 1 |  |  | EPA 200.8
72 |  | Selenium (Se) |  |  |  |  | ppb | [5 empty] | < 1 | < 1 |  | <2 | <2 |  |  | 1.82 | 2.21 |  | 2.78 | 4.22 |  | 2.4 | 4.66 |  | <2 | <2 |  |  | 2.08 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 |  | < 2 | [5 empty] | 1.2 |  |  | EPA 200.8
73 |  | Zinc (Zn) |  |  |  |  | ppb | [5 empty] | 2.9 | 3.76 |  | 3.95 | <2 |  |  | 5.6 | 3.44 |  | 2.76 | 4.1 |  | 3.4 | 2.24 |  | 4.14 | 2.92 |  |  | <2 |  | 57.7 |  | 22.2 |  | 25 |  | 2.41 |  | 4.19 |  | 7.95 | [5 empty] | 29.1 |  |  | EPA 200.8

## Maps
NOTE: 2 MAPS BELOW